## Slide 1: Scenarios: Diagrams
Editable Format

## Slide 2: Scenario :
LOG COLLECTION
NETWORK MONITOR
AlienVault All-In-One 25 Assets
SCENARIO PERFORMANCE
EPS ratio Example:
1.000 EPS are approx. 300 Windows Servers
EPS – Events Per Second
VIRTUAL DEPLOYMENT | AIO UA Built-in Sensor off
Cores | 8
Ram | 16 G
Local Storage | 1 TB
Network Interfaces | 2 Network Interface: eth0 – Management & Log Collection eth1 – Network Monitor
VMWARE | 4.0+
VIRTUAL DEPLOYMENT | AIO UA
Collection | 1.000 EPS
Correlation | 1.000 EPS
Logger Capability | 5 TB uncompressed 1 TB local storage
Network Monitor Bandwidth | 100 Mbps
Asset Limit | 25 Unique IPs
LOCAL NETWORK
AV Admin

## Slide 3: Scenario :
LOG COLLECTION
NETWORK MONITOR
AlienVault All-In-One 75 Assets
SCENARIO PERFORMANCE
EPS ratio Example:
1.000 EPS are approx. 300 Windows Servers
EPS – Events Per Second
VIRTUAL DEPLOYMENT | AIO UA Built-in Sensor off
Cores | 8
Ram | 16 G
Local Storage | 1 TB
Network Interfaces | 2 Network Interface: eth0 – Management & Log Collection eth1 – Network Monitor
VMWARE | 4.0+
VIRTUAL DEPLOYMENT | AIO UA
Collection | 1.000 EPS
Correlation | 1.000 EPS
Logger Capability | 5 TB uncompressed 1 TB local storage
Network Monitor Bandwidth | 100 Mbps
Asset Limit | 75 Unique IPs
LOCAL NETWORK
AV Admin

## Slide 4: Scenario :
LOG COLLECTION
NETWORK MONITOR
AlienVault All-In-One 150 Assets
SCENARIO PERFORMANCE
EPS ratio Example:
1.000 EPS are approx. 300 Windows Servers
EPS – Events Per Second
VIRTUAL DEPLOYMENT | AIO UA Built-in Sensor off
Cores | 8
Ram | 16 G
Local Storage | 1 TB
Network Interfaces | 2 Network Interface: eth0 – Management & Log Collection eth1 – Network Monitor
VMWARE | 4.0+
VIRTUAL DEPLOYMENT | AIO UA
Collection | 1.000 EPS
Correlation | 1.000 EPS
Logger Capability | 5 TB uncompressed 1 TB local storage
Network Monitor Bandwidth | 100 Mbps
Asset Limit | 150 Unique IPs
LOCAL NETWORK
AV Admin

## Slide 5: Scenario :
LOG COLLECTION
NETWORK MONITOR
AlienVault All-In-One Unlimited A.
SCENARIO PERFORMANCE
EPS ratio Example:
1.000 EPS are approx. 300 Windows Servers
EPS – Events Per Second
VIRTUAL DEPLOYMENT | AIO UA Built-in Sensor off
Cores | 8
Ram | 16 G
Local Storage | 1 TB
Network Interfaces | 2 Network Interface: eth0 – Management & Log Collection eth1 – Network Monitor
VMWARE | 4.0+
VIRTUAL DEPLOYMENT | AIO UA
Collection | 1.000 EPS
Correlation | 1.000 EPS
Logger Capability | 5 TB uncompressed 1 TB local storage
Network Monitor Bandwidth | 100 Mbps
Asset Limit | Unlimited unique IP (see EPS)
LOCAL NETWORK
AV Admin

## Slide 6: Scenario :
LOG COLLECTION
NETWORK MONITOR (NIDS)
AlienVault All-In-One Unlimited A.
Built-in Sensor Disabled & ST Sensor
SCENARIO PERFORMANCE
EPS ratio Example:
2.500 EPS are approx. 650 Windows Servers
EPS – Events Per Second
X
VIRTUAL DEPLOYMENT | AIO UA Built-in Sensor off | Standard Sensor
Cores | 8 | 8
Ram | 16 G | 24
Local Storage | 1 TB | 1,2
Network Interfaces | 1 Network Interface: – Management | 2 Network Interfaces .- eth0 Management & Log Collection .- eth1 Network Monitor
VMWARE | 4.0+ | 4.0+
VIRTUAL DEPLOYMENT | AIO UA Built-in Sensor off | Standard Sensor
Collection | - | 2.500 EPS
Correlation | 2.500 EPS | -
Logger Capability | 5 TB uncompressed 1 TB local storage | -
Network Monitor Bandwidth | - | 1 Gbps
Asset Limit | UA | UA
+
LOCAL NETWORK
AV Admin
X

## Slide 7: Scenario :
LOG COLLECTION
NETWORK MONITOR (NIDS)
AlienVault All-In-One Unlimited A.
Built-in Sensor Disabled & RT Sensor
SCENARIO PERFORMANCE
EPS ratio Example:
500 EPS are approx. 150 Windows Servers
EPS – Events Per Second
X
VIRTUAL DEPLOYMENT | AIO UA Built-in Sensor off | Remote Sensor
Cores | 8 | 4
Ram | 16 G | 8
Local Storage | 1 TB | 1 TB
Network Interfaces | 1 Network Interface: – Management | 2 Network Interfaces .- eth0 Management & Log Collection .- eth1 Network Monitor
VMWARE | 4.0+ | 4.0+
VIRTUAL DEPLOYMENT | AIO UA Built-in Sensor off | Remote Sensor
Collection | - | 500 EPS
Correlation | 2.500 EPS | -
Logger Capability | 5 TB uncompressed 1 TB local storage | -
Network Monitor Bandwidth | - | 100 Mbps
Asset Limit | UA | UA
+
LOCAL NETWORK
AV Admin
X

## Slide 8: Scenario :
LOG COLLECTION
NETWORK MONITOR (NIDS)
AlienVault Standard Server,
Standard Sensor & Standard Logger
SCENARIO PERFORMANCE
EPS ratio Example:
500 EPS are approx. 150 Windows Servers
EPS – Events Per Second
VIRTUAL DEPLOYMENT | Standard Server | Standard Sensor | Standard Logger
Cores | 8 | 8 | 8
Ram | 24 | 24 | 24
Local Storage | 1.2 TB | 1.2 TB | 1.8 TB
Network Interfaces | 1 Network Interface: – Management | 2 Network Interfaces .- eth0 Management & Log Collection .- eth1 Network Monitor | 1 Network Interface: – Management
VMWARE | 4.0+ | 4.0+ | 4.0+
VIRTUAL DEPLOYMENT | Standard Server | Standard Sensor | Standard Logger
Collection | - | 2.500 EPS | -
Correlation | 5.000 EPS | - | -
Logger Capability | - | - | 9 TB Uncompressed 1.8 TB local storage
Network Monitor Bandwidth | - | 1 Gbps | 
Asset Limit | UA | UA | UA
+
LOCAL NETWORK
AV Admin
+

## Slide 9: Scenario :
Main Location
LOG COLLECTION
NETWORK MONITOR (NIDS)
AlienVault Standard Server,
Standard Sensor (x2) & Standard Logger
(DC and remote Location)
SCENARIO PERFORMANCE
EPS ratio Example:
500 EPS are approx. 150 Windows Servers
EPS – Events Per Second
VIRTUAL DEPLOYMENT | Standard Server | Standard Sensor (x2) | Standard Logger
Cores | 8 | 8 | 8
Ram | 24 | 24 | 24
Local Storage | 1.2 TB | 1.2 TB | 1.8 TB
Network Interfaces | 1 Network Interface: – Management | 2 Network Interfaces .- eth0 Management & Log Collection .- eth1 Network Monitor | 1 Network Interface: – Management
VMWARE | 4.0+ | 4.0+ | 4.0+
VIRTUAL DEPLOYMENT | Standard Server | Standard Sensor (x2) | Standard Logger
Collection | - | 2.500 + 2.500 EPS | -
Correlation | 5.000 EPS | - | -
Logger Capability | - | - | 9 TB Uncompressed 1.8 TB local storage
Network Monitor Bandwidth | - | 1 Gbps + 1Gbps | 
Asset Limit | UA | UA | UA
+
LOCAL NETWORK
AV Admin
+
Remote Location
(x2)

## Slide 10: Scenario :
Remote Location #1
Remote Location #2
Main Location
LOG COLLECTION
NETWORK MONITOR (NIDS)
AlienVault Standard Server,
Standard Sensor (x3) & Standard Logger
(DC and two(2) remote Location)
SCENARIO PERFORMANCE
EPS ratio Example:
500 EPS are approx. 150 Windows Servers
EPS – Events Per Second
VIRTUAL DEPLOYMENT | Standard Server | Standard Sensor (x3) | Standard Logger
Cores | 8 | 8 | 8
Ram | 24 | 24 | 24
Local Storage | 1.2 TB | 1.2 TB | 1.8 TB
Network Interfaces | 1 Network Interface: – Management | 2 Network Interfaces .- eth0 Management & Log Collection .- eth1 Network Monitor | 1 Network Interface: – Management
VMWARE | 4.0+ | 4.0+ | 4.0+
VIRTUAL DEPLOYMENT | Standard Server | Standard Sensor (x3) | Standard Logger
Collection | - | 2.500 + 2.500 + 2500 EPS | -
Correlation | 5.000 EPS | - | -
Logger Capability | - | - | 9 TB Uncompressed 1.8 TB local storage
Network Monitor Bandwidth | - | 1 Gbps + 1Gbps +1 Gbps | 
Asset Limit | UA | UA | UA
+
LOCAL NETWORK
AV Admin
+
(x3)

## Slide 11: Scenario :
Main Location
LOG COLLECTION
NETWORK MONITOR (NIDS)
AlienVault AIO UA Built-in Sensor Off
& 2 Standard Sensor
(DC and remote Location)
SCENARIO PERFORMANCE
EPS ratio Example:
500 EPS are approx. 150 Windows Servers
EPS – Events Per Second
VIRTUAL DEPLOYMENT | AIO UA Built-in Sensor Off | Standard Sensor (x2)
Cores | 8 | 8
Ram | 16 | 24
Local Storage | 1.2 TB | 1.2 TB
Network Interfaces | 1 Network Interface: – Management | 2 Network Interfaces .- eth0 Management & Log Collection .- eth1 Network Monitor
VMWARE | 4.0+ | 4.0+
VIRTUAL DEPLOYMENT | AIO UA Built-in Sensor Off | Standard Sensor (x2)
Collection | - | 2.500 + 2.500 EPS
Correlation | 2.500 EPS | -
Logger Capability | 5 TB Compressed 1 TB Local Storage | -
Network Monitor Bandwidth | - | 1 Gbps + 1Gbps
Asset Limit | UA | UA
LOCAL NETWORK
AV Admin
+
Remote Location
(x2)
X
X

## Slide 12: Scenario :
Main Location
LOG COLLECTION
NETWORK MONITOR (NIDS)
AlienVault AIO UA & Standard Sensor
(DC and remote Location)
SCENARIO PERFORMANCE
EPS ratio Example:
500 EPS are approx. 150 Windows Servers
EPS – Events Per Second
VIRTUAL DEPLOYMENT | AIO UA | Standard Sensor
Cores | 8 | 8
Ram | 16 | 24
Local Storage | 1.2 TB | 1.2 TB
Network Interfaces | 1 Network Interface: – Management | 2 Network Interfaces .- eth0 Management & Log Collection .- eth1 Network Monitor
VMWARE | 4.0+ | 4.0+
VIRTUAL DEPLOYMENT | AIO UA | Standard Sensor
Collection | 1.000 EPS | 2.500 EPS
Correlation | 1.000 EPS | -
Logger Capability | 5 TB Compressed 1 TB Local Storage | -
Network Monitor Bandwidth | 100 Mbps | 1 Gbps
Asset Limit | UA | UA
LOCAL NETWORK
AV Admin
+
Remote Location

## Slide 13: Scenario :
Main Location
LOG COLLECTION
NETWORK MONITOR (NIDS)
AlienVault AIO UA & Remote Sensor
(DC and remote Location)
SCENARIO PERFORMANCE
EPS ratio Example:
500 EPS are approx. 150 Windows Servers
EPS – Events Per Second
VIRTUAL DEPLOYMENT | AIO UA | Remote Sensor
Cores | 8 | 4
Ram | 16 | 8
Local Storage | 1.2 TB | 1 TB
Network Interfaces | 1 Network Interface: – Management | 2 Network Interfaces .- eth0 Management & Log Collection .- eth1 Network Monitor
VMWARE | 4.0+ | 4.0+
VIRTUAL DEPLOYMENT | AIO UA | Remote Sensor
Collection | 1.000 EPS | 500 EPS
Correlation | 1.000 EPS | -
Logger Capability | 5 TB Compressed 1 TB Local Storage | -
Network Monitor Bandwidth | 100 Mbps | 100 Mbps
Asset Limit | UA | UA
LOCAL NETWORK
AV Admin
+
Remote Location

## Slide 14: Scenarios: Diagrams
Pictures